## Introduction
To obtain an optimal use of this document, it is recomended to download it before use.
With this simulator, Elia is aiming at giving more information to all market players, on the tariff conditions for
access to the grid (*), for public service obligations & for taxes and levies.
Connection tariffs and tariffs for imbalance are not handled here.
This simulation shows how the amounts related to the access to the Elia-grid by grid users are computed.
The region in which the access point is located, the infrastructure level and the type of access point is also
taken into account.
Tariffs are applicable from the 1st of January 2022 to the 31st of December 2022.
The simulation can be used by customers directly connected to the Elia grid, with or without local
production in the same access point. The simulation is not intended for distribution grid operators.
The simulation is not intended for offshore access points connected to the MOG and access points of the country Luxemburg . If you wish to receive a simulation for these access points, please contact your KAM.
To use the file, fill-in the description of the access profile, on the sheet "Data". Results are shown on the
sheets "Results I" (tariffs applicable in the given access point) and "Results II" (amounts linked to the terms
for access to the grid, for public service obligations & for taxes and levies in the given access point).
(*) Except of the tariff for supplementary deliveries of reactive energy and the tariff for any exceeding
of the power put at disposal.
Disclaimer :
This file and the information included herein (including tariffs) are given for information purposes only.
These elements are aiming at facilitating the computation of the use of system charges, for one given grid
user connected to one given point. The given information and tariffs, as well as the results of the
simulation, are not of contractual nature. They do not constitute an offer for the conclusion of any contract,
and do not engage Elia in any way.
Elia does not guarantee the adequacy, accurracy or completeness of the given information and/or
computed results, nor the period in wich the mentioned charges will be valid. Elia cannot be held
responsible for the consequences arising from the possible uncompleteness or inaccuracy of the given
information and tariffs, as well as in case these information and tariffs are not up to date.

## Data
Data to be provided by the user
1. Description of the access point
Please, fill in infrastructure level, region and type of access point.
|  | Infrastructure level: | On the 380/220/150 kV network
|  | Region: | Brussels
|  | Type of access point: | Principal
2. Net offtake peak (in MW)
Please, fill in the net offtake peak for each month (column A).
Please, fill also in the net offtake peak realised during the hours 17-20, weekend and holidays
excluded, only during the months of January to March and November to December (column B)
P.S. : For each month, the value in column B is always smaller or equal to the value in column A for the year 2020.
|  |  | A (year 2021) | B (year 2020) | B (year 2021) | Yearly peak
|  | January |  |  |  | 0
|  | February |  |  |  | 0
|  | March |  |  |  | 0
|  | April |  |  |  | 0
|  | May |  |  |  | 0
|  | Jun |  |  |  | 0
|  | July |  |  |  | 0
|  | August |  |  |  | 0
|  | September |  |  |  | 0
|  | October |  |  |  | 0
|  | November |  |  |  | 0
|  | December |  |  |  | 0
3. Power put at disposal (in MVA)
Please fill in, the power put at disposal of the offtake point.
P.S. : The power put at disposal must be at least equal to the maximum offtake peak of the year.
The power at disposal needs to take into account the power of the installations
situated behind the access point.
4. Net offtaken energy (in MWh)
Please, fill in the net offtaken energy for each month.
If you wish so, you can introduce an utilisation % for automatic calculation of the monthly energies based on the net offtake
peaks filled in above and thereupon push on the button.
100%
|  |  | Number of monthly hours | Maximum monthly energy | Monthly energy
|  | January | 744 | 0
|  | February | 696 | 0
|  | March | 743 | 0
|  | April | 720 | 0
|  | May | 744 | 0
|  | Jun | 720 | 0
|  | July | 744 | 0
|  | August | 744 | 0
|  | September | 720 | 0
|  | October | 745 | 0
|  | November | 720 | 0
|  | December | 744 | 0
0
5. Net injected energy (in MWh)
Please, fill in the net injected energy for the year, if applicable.
6. Data concerning the public service obligations and surcharges
|  | Are you Access Holder ? | No
|  | What is the type of your activity? | Other
Taken into account in the calculation if access holder in Wallonia
and sector agreement and/or convenant
Thanks !
The results can be consulted on the sheets "Results I" et "Results II".

## Results I
Tariffs for:
Type of customer: | Customer directly connected to the Elia grid
Infrastructure level: | On the 380/220/150 kV network
Region: | Brussels
Type of access point: | Principal
A. Tariffs for the management and the development of the grid infrastructure
€/kW net offtaken by month
| 1. Tariffs for the monthly peak | 0.2201
€/kW net offtaken by year
| 2. Tariffs for the yearly peak | 5.5527
€/kVA at offtake by year
| 3. Tariffs for the power put at disposal | 4.7011
B. Tariffs for the management fo the electric system
€/MWh net offtaken
0.9196
C. Tariffs for the power reserves and black-start
€/MWh net offtaken
| 1. based on offtake | 0.7254
€/MWh net injected
| 2. based on injection | 0.6169
D. Tariffs for market integration
€/MWh net offtaken
0.3719
E. Tariffs for public service obligations
€/MWh net offtaken
| 1. Tariffs for financing the support measures for renewable energy in Flemish Region | 0
€/MWh net offtaken
| 2. Tariffs for Financing measures for promotion of rational use of energy in Flemish Region | 0
|  | First term | Second term
|  | €/MWh net offtaken | €/MWh exempted
| 3. Tariffs for financing the support measures for renewable energy in Walloon Region | 0 | 0
F. Taxes and levies
€/MWh net offtaken
| 1. Occupying public domain in Walloon Region | 0
€/MWh net offtaken
| 2. Occupying road network in Brussels Region | 3.6035
€/MWh net offtaken
| 3. Levie for the taxes "pylons" et "trenches" in Flemish region | 0

## Results II
Results
|  |  | Type of customer: | Customer directly connected to the Elia grid
|  |  | Infrastructure level: | On the 380/220/150 kV network
|  |  | Region: | Brussels
|  |  | Type of access point: | Principal
|  |  | Access Holder: | No
|  |  | Type of activity: | Other
a. Terms for the management and the development of the grid infrastructure
a.1) Terms for the monthly peak :
|  |  |  | Monthly peak |  | Tariff |  | Amount
|  |  | January | 0 | MW * | 0.2201 | €/kW = | 0 | €
|  |  | February | 0 | MW * | 0.2201 | €/kW = | 0 | €
|  |  | March | 0 | MW * | 0.2201 | €/kW = | 0 | €
|  |  | April | 0 | MW * | 0.2201 | €/kW = | 0 | €
|  |  | May | 0 | MW * | 0.2201 | €/kW = | 0 | €
|  |  | Jun | 0 | MW * | 0.2201 | €/kW = | 0 | €
|  |  | July | 0 | MW * | 0.2201 | €/kW = | 0 | €
|  |  | August | 0 | MW * | 0.2201 | €/kW = | 0 | €
|  |  | September | 0 | MW * | 0.2201 | €/kW = | 0 | €
|  |  | October | 0 | MW * | 0.2201 | €/kW = | 0 | €
|  |  | November | 0 | MW * | 0.2201 | €/kW = | 0 | €
|  |  | December | 0 | MW * | 0.2201 | €/kW = | 0 | €
[7 empty] | Total term for the monthly peak : | 0 | €
a.2) Terms for the yearly peak :
|  |  |  | Yearly peak |  | Tariff |  | Amount
|  |  | January | 0 | MW * | 0.46272 | €/kW = | 0 | €
|  |  | February | 0 | MW * | 0.46272 | €/kW = | 0 | €
|  |  | March | 0 | MW * | 0.46272 | €/kW = | 0 | €
|  |  | April | 0 | MW * | 0.46272 | €/kW = | 0 | €
|  |  | May | 0 | MW * | 0.46272 | €/kW = | 0 | €
|  |  | Jun | 0 | MW * | 0.46272 | €/kW = | 0 | €
|  |  | July | 0 | MW * | 0.46272 | €/kW = | 0 | €
|  |  | August | 0 | MW * | 0.46272 | €/kW = | 0 | €
|  |  | September | 0 | MW * | 0.46272 | €/kW = | 0 | €
|  |  | October | 0 | MW * | 0.46272 | €/kW = | 0 | €
|  |  | November | 0 | MW * | 0.46272 | €/kW = | 0 | €
|  |  | December | 0 | MW * | 0.46272 | €/kW = | 0 | €
[7 empty] | Total term for the yearly peak : | 0 | €
a.3) Terms for the power put at disposal :
|  |  |  | Power |  | Tariff |  | Amount
|  |  |  | 0 | MVA * | 4.7011 | €/kVA | 0 | €
[7 empty] | Total term for the management and the development of the grid infrastructure : | 0 | €
b) Terms for the management fo the electric system :
|  |  |  | Net offtaken energy |  | Tariff |  | Amount
|  |  | January | 0 | MWh * | 0.9196 | €/MWh = | 0 | €
|  |  | February | 0 | MWh * | 0.9196 | €/MWh = | 0 | €
|  |  | March | 0 | MWh * | 0.9196 | €/MWh = | 0 | €
|  |  | April | 0 | MWh * | 0.9196 | €/MWh = | 0 | €
|  |  | May | 0 | MWh * | 0.9196 | €/MWh = | 0 | €
|  |  | Jun | 0 | MWh * | 0.9196 | €/MWh = | 0 | €
|  |  | July | 0 | MWh * | 0.9196 | €/MWh = | 0 | €
|  |  | August | 0 | MWh * | 0.9196 | €/MWh = | 0 | €
|  |  | September | 0 | MWh * | 0.9196 | €/MWh = | 0 | €
|  |  | October | 0 | MWh * | 0.9196 | €/MWh = | 0 | €
|  |  | November | 0 | MWh * | 0.9196 | €/MWh = | 0 | €
|  |  | December | 0 | MWh * | 0.9196 | €/MWh = | 0 | €
[7 empty] | Total term for the management fo the electric system : | 0 | €
c) Terms for the power reserves and black-start :
c.1. based on offtake :
|  |  |  | Net offtaken energy |  | Tariff |  | Amount
|  |  | January | 0 | MWh * | 0.7254 | €/MWh = | 0 | €
|  |  | February | 0 | MWh * | 0.7254 | €/MWh = | 0 | €
|  |  | March | 0 | MWh * | 0.7254 | €/MWh = | 0 | €
|  |  | April | 0 | MWh * | 0.7254 | €/MWh = | 0 | €
|  |  | May | 0 | MWh * | 0.7254 | €/MWh = | 0 | €
|  |  | Jun | 0 | MWh * | 0.7254 | €/MWh = | 0 | €
|  |  | July | 0 | MWh * | 0.7254 | €/MWh = | 0 | €
|  |  | August | 0 | MWh * | 0.7254 | €/MWh = | 0 | €
|  |  | September | 0 | MWh * | 0.7254 | €/MWh = | 0 | €
|  |  | October | 0 | MWh * | 0.7254 | €/MWh = | 0 | €
|  |  | November | 0 | MWh * | 0.7254 | €/MWh = | 0 | €
|  |  | December | 0 | MWh * | 0.7254 | €/MWh = | 0 | €
|  | Total term for the power reserves and black-start based on offtake : | [5 empty] | 0 | €
c.2. based on injection :
|  |  |  | Net injected energy |  | Tariff |  | Amount
|  |  |  | 0 | MWh * | 0.6169 | €/MWh = | 0 | €
|  | Total term for the power reserves and black-start : | [5 empty] | 0 | €
d) Terms for market integration :
|  |  |  | Net offtaken energy |  | Tariff |  | Amount
|  |  | January | 0 | MWh * | 0.3719 | €/MWh = | 0 | €
|  |  | February | 0 | MWh * | 0.3719 | €/MWh = | 0 | €
|  |  | March | 0 | MWh * | 0.3719 | €/MWh = | 0 | €
|  |  | April | 0 | MWh * | 0.3719 | €/MWh = | 0 | €
|  |  | May | 0 | MWh * | 0.3719 | €/MWh = | 0 | €
|  |  | Jun | 0 | MWh * | 0.3719 | €/MWh = | 0 | €
|  |  | July | 0 | MWh * | 0.3719 | €/MWh = | 0 | €
|  |  | August | 0 | MWh * | 0.3719 | €/MWh = | 0 | €
|  |  | September | 0 | MWh * | 0.3719 | €/MWh = | 0 | €
|  |  | October | 0 | MWh * | 0.3719 | €/MWh = | 0 | €
|  |  | November | 0 | MWh * | 0.3719 | €/MWh = | 0 | €
|  |  | December | 0 | MWh * | 0.3719 | €/MWh = | 0 | €
[7 empty] | Total term for market integration : | 0 | €
e) Terms for public service obligations :
e.1.) Financing the support measures for renewable energy in Flemish Region
The determination of the tariff does not depend on the previous year but on the year selected by reference contrary to what is provided for in the tariffs.
Not applicable in this region
|  |  | Range | Net offtaken energy by range |  | Tariff |  | Amount |  | Degressivity
0-1000
1000-20000
20000-100000
100000-250000
>250000
|  |  | Total term for financing the support measures for renewable energy : |  |  |  |  | 0 | €
e.2.) Financing measures for promotion of rational use of energy in Flemish Region
Not applicable in this region
|  |  |  | Net offtaken energy |  | Tariff |  | Amount
January
February
March
April
May
Jun
July
August
September
October
November
December
[7 empty] | Total term for financing measures for promotion of rational use of energy : | 0 | €
e.3.) Financing the support measures for renewable energy in Walloon Region
Not applicable in this region
e.3.a.) First term
|  |  |  | Net offtaken energy |  | Tariff for first term |  | Amount
January
February
March
April
May
Jun
July
August
September
October
November
December
|  |  | Total term for financing the support measures for renewable energy : |  |  |  |  | 0 | €
[7 empty] | Total term for public service obligations : | 0 | €
The credit of the exemption of the first component and the invoicing of the second component are made on a quarterly basis of a file received by the SPW
on the basis of the offtake and tariff defined by the SPW.
The principles are described in the guidelines published by the SPW.
For more information, visit https://www.elia.be/fr/clients/certificats-verts-et-surcharges/wallonie-exemptions-partielles#Partial exemptions. (n French)
The calculation below is purely indicative on the basis of the volume of offtake and on the basis of the tariff of the first component.
e.3.b.) Exemption of the first component
|  |  |  | Net offtaken energy |  | Tariff for first term |  | Amount |  | Exoneration
January
February
March
April
May
Jun
July
August
September
October
November
December
[7 empty] | Total exemption : | 0 | €
e.3.c.) Second component
|  |  |  | Net offtaken energy |  | Tariff for second term |  | Amount
January
February
March
April
May
Jun
July
August
September
October
November
December
[7 empty] | Total second component renewable energy support measures : | 0 | €
|  |  | Total first-component exemption and second-component billing for renewable energy support measures : |  |  |  |  | 0 | €
f) Taxes and levies :
f.1.) Occupying public domain in Walloon Region
Not applicable in this region
|  |  |  | Net offtaken energy |  | Tariff |  | Amount
January
February
March
April
May
Jun
July
August
September
October
November
December
[7 empty] | Total term for occupying public domain in Walloon Region : | 0 | €
f.2.) Occupying road network in Brussels Region
|  |  |  | Net offtaken energy |  | Tariff |  | Amount
|  |  | January | 0 | MWh * | 3.6035 | €/MWh = | 0 | €
|  |  | February | 0 | MWh * | 3.6035 | €/MWh = | 0 | €
|  |  | March | 0 | MWh * | 3.6035 | €/MWh = | 0 | €
|  |  | April | 0 | MWh * | 3.6035 | €/MWh = | 0 | €
|  |  | May | 0 | MWh * | 3.6035 | €/MWh = | 0 | €
|  |  | Jun | 0 | MWh * | 3.6035 | €/MWh = | 0 | €
|  |  | July | 0 | MWh * | 3.6035 | €/MWh = | 0 | €
|  |  | August | 0 | MWh * | 3.6035 | €/MWh = | 0 | €
|  |  | September | 0 | MWh * | 3.6035 | €/MWh = | 0 | €
|  |  | October | 0 | MWh * | 3.6035 | €/MWh = | 0 | €
|  |  | November | 0 | MWh * | 3.6035 | €/MWh = | 0 | €
|  |  | December | 0 | MWh * | 3.6035 | €/MWh = | 0 | €
[7 empty] | Total term for occupying road network : | 0 | €
f.3.) Levie for the taxes "pylons" et "trenches" in Flemish region
Not applicable in this region
|  |  |  | Net offtaken energy |  | Tariff |  | Amount
January
February
March
April
May
Jun
July
August
September
October
November
December
[7 empty] | Total term for levie for the taxes "pylons" et "trenches" : | 0 | €
[7 empty] | Total for taxes and levies : | 0 | €
Yearly total (except public service obligations & taxes and levies) : | [7 empty] | 0 | €
Total for public service obligations & taxes and levies : | [7 empty] | 0 | €
Annual total (with public service obligations & taxes and surcharges excluding first-component exemption and second-component billing for renewable energy support measures (Wallonia)): | [7 empty] | 0 | €
Total first-component exemption and second-component billing for renewable energy support measures (Wallonia): | [7 empty] | 0 | €
Annual total (with public service obligations & taxes and surcharges including first-component exemption and second-component billing for renewable energy support measures (Wallonia)): | [7 empty] | 0 | €

## Tariffs
TARIFFS
A. Tariffs for the management and the development of the grid infrastructure
1. Tariffs for the monthly peak
€/kW net offtaken by month
|  | On the 380/220/150 kV network | 0.2201
|  | On the 70/36/30 kV network | 0.3943
|  | At transformer output to medium voltage | 0.573
2. Tariffs for the yearly peak
€/kW net offtaken by year
|  | On the 380/220/150 kV network | 5.5527
|  | On the 70/36/30 kV network | 9.8285
|  | At transformer output to medium voltage | 14.1255
3. Tariffs for the power put at disposal
|  |  | Principal AP | Additional AP
|  |  | €/kVA at offtake by year | €/kVA at offtake by year
|  | On the 380/220/150 kV network | 4.7011 | 0.9402
|  | On the 70/36/30 kV network | 8.7589 | 1.7518
|  | At transformer output to medium voltage | 15.9985 | 3.1997
B. Tariffs for the management fo the electric system
€/MWh net offtaken
|  | On the 380/220/150 kV network | 0.9196
|  | On the 70/36/30 kV network | 1.4437
|  | At transformer output to medium voltage | 2.2628
C. Tariffs for the power reserves and black-start
1. based on offtake
€/MWh net offtaken
|  | On the 380/220/150 kV network | 0.7254
|  | On the 70/36/30 kV network | 0.7254
|  | At transformer output to medium voltage | 0.7254
2. based on injection
€/MWh net injected
|  | On the 380/220/150 kV network | 0.6169
|  | On the 70/36/30 kV network | 0.6169
|  | At transformer output to medium voltage | 0.6169
D. Tariffs for market integration
€/MWh net offtaken
|  | On the 380/220/150 kV network | 0.3719
|  | On the 70/36/30 kV network | 0.3719
|  | At transformer output to medium voltage | 0.3719
E. Tariffs for public service obligations
1. Tariffs for financing the support measures for renewable energy in Flemish Region
€/MWh net offtaken
|  | On the 380/220/150 kV network | 0
|  | On the 70/36/30 kV network | 2.2331
|  | At transformer output to medium voltage | 2.2331
2. Tariffs for financing measures for promotion of rational use of energy in Flemish Region
€/MWh net offtaken
|  | On the 380/220/150 kV network | 0
|  | On the 70/36/30 kV network | 0.0254
|  | At transformer output to medium voltage | 0.0254
3. Tariffs for financing the support measures for renewable energy in Walloon Region
|  |  | First term | Second term
|  |  | €/MWh net offtaken | €/MWh exempted
|  | On the 380/220/150 kV network | 0 | 0
|  | On the 70/36/30 kV network | 13.8159 | 0
|  | At transformer output to medium voltage | 13.8159 | 0
F. Taxes and levies
1. Occupying public domain in Walloon Region
€/MWh net offtaken
|  | On the 380/220/150 kV network | 0
|  | On the 70/36/30 kV network | 0.3074
|  | At transformer output to medium voltage | 0.3074
2. Occupying road network in Brussels Region
€/MWh net offtaken
|  | On the 380/220/150 kV network | 3.6035
|  | On the 70/36/30 kV network | 3.6065
|  | At transformer output to medium voltage | 0
3. Levie for the taxes "pylons" et "trenches" in Flemish region
€/MWh net offtaken
|  | On the 380/220/150 kV network | 0.3719
|  | On the 70/36/30 kV network | 0.3719
|  | At transformer output to medium voltage | 0.3719